| #### Project Team FM22 |  |
| --- | --- |
| 49th Meeting of FM22 Copenhagen, 17 – 20 April 2018 | #### FM22(18)16rev1 |
| #### Date issued: 16 March 2018 #### Source: Lithuania #### Subject: New approach of e.i.r.p. measurement at frequencies up to 6 GHz |  |

N

Password protection required? (Y/N) *

#### Summary #### This document describes new version of the height scan method for determining the radiated power at microwaves frequencies. #### The measurement results have shown that the original (described in ECC Recommendation 12(03)) and the new height scan methods at frequencies from 1.2 GHz to 6 GHz in rural areas worked very well, if the average value of a field strength of direct wave was used. In case of low levels of the measured signal, the use of the new method yielded noticeably better results than in case of the original method.

#### Proposal #### FM22 is invited to study the material.

#### Background #### FM22 work programmer

# Introduction

ECC/REC(12)03 provides an over-the-air measurement method to determine the radiated power through field strength measurements at a fixed place. The upper frequency limit for the application of the method is currently set at 6 GHz. The test measurements by Germany (see document FM22(16)10rev/1) in urban area have shown that the measurement error may be unreasonably high in these frequency ranges, mainly due dominant to multiple reflections from surrounding buildings.

In March 2017 Lithuania were carried out the test measurements in rural area using narrowband unmodulated signals from 1.2 GHz to 6 GHz. The measurements have shown (see document FM22(17)17) that for unexplained reasons the measurement error may be unreasonably high.

In December 2017, the measuring equipment was modernized and a new method for determining the field strength of direct wave was applied. In January 2018 the test measurements in rural area using narrowband unmodulated signals from 1.2 GHz to 6 GHz were repeated. The results of these measurements presented below exceeded all expectations.

# A new method for determining the field strength of direct wave

To make the proposed method more understandable, let us consider in more detail the classical version of the determination of the free space field strength.

Fig. 1. Geometry of direct path and ground-reflected multipath.

Let’s calculate field strength dependency on a height in the simplest case, when transmitting and receiving antennas are isotropic and wave polarization is horizontal. These assumptions are not essential, but they make calculations simpler. In this case, based on the lengths LD and LR (see Fig. 1), on the equivalent isotropically radiated power e.i.r.p. and on the magnitude R and phase φ of the ground reflection coefficient, the direct wave can be expressed as

SD=60e.i.r.p.LDsin2πft1−LDc,				(1)

and the reflected wave can be expressed as

SR=R60e.i.r.p.LRsin2πft1−LRc+φ,				(2)

where f – the transmitting frequency; c – the velocity of light in free space.

In case of horizontal polarization, the electric vector of direct wave is horizontal to the reflecting surface. The electric vector of reflected wave is also horizontal to the reflecting surface. So, these two vectors are parallel, and the resultant field strength can be calculated by adding direct and reflected waves accounting for the difference in phases. As it follows from the equations (1) and (2), the phase difference is

∆Φ=2πfcLR−LD+φ.					(3)

Therefore, for the resultant field strength we obtain:

S=60e.i.r.p.LD2+R60e.i.r.p.LR2+260e.i.r.p.LDR60e.i.r.p.LRcos∆Φ∗sin2πft.	(4)

From this expression follows that the r.m.s value of the magnitude of the resultant field strength is

E=ED2+ER2+2EDERcos∆Φ ,			(5)

where ED and ER, respectively, are the r.m.s values of the magnitude of the field strength due to direct wave and field strength due to reflected waves.

As it can be seen from equation (5), the resultant field strength dependency on height is defined by phase ΔΦ because it is proportional to the difference between the lengths of the direct and the reflected propagation path (see eq. (3)). Using simple geometric formulas and assuming that distance d is much greater than heights H and h, it is easy to show that path difference is

LR−LD=2Hhd.					(6)

Therefore, when changing the height of the measuring antenna, the field strength maximum Emax and minimum Emin caused by the constructive (when cos(ΔΦ)=1) and destructive (when cos(ΔΦ)= -1) combination of these two waves are observed. As follows from equation (5), these extreme field strength values are given by:

Emax=ED+ER					(7)

Emin=ED−ER.					(8)

On combining these two equations, we get the field strength of direct wave:

ED=)/2.					(9)

This expression can be rewritten in another form:

ED=Emax−∆E2,					(10)

were ΔE=Emax - Emin.

Expression (10) in a logarithmic form is used in the ECC recommendation 12(03). This method for determination field strength of direct wave ED assumes that field strength of reflected wave ER is independent of height. But, as Fig. 1 shows, the position of geometrical reflection point on the ground depends on height at which the field strength is measured. This reflection point is in centrum of the surface of Fresnel zones from which comes the major contribution to the reflected wave. In general, the reflection coefficient is non-uniform and its value varies with position on the ground. As a result, the field strength ER can slowly vary with height. Therefore, in the recommendation mentioned above it is recommended to determine the field strength ED from the difference between the maximum field strength and the adjacent minimum field strength.

We will show another way to determine the direct wave field strength ED. For that reason, let‘s take the common logarithm of both sides of equation (5)

20logE=10log. 		 (11)

By introducing new symbols

a=ED2+ER2,						(12)

b=2EDER							(13)

equation (11) can be rewritten as follows

20logE=10log⁡.				(14)

By integrating this equation from 0 to 2π we will obtain

02π20logEd∆Φ=1002πlog.	(15)

By using cos function symmetry and changing logarithms from common to natural, the right side of the equation acquires a shape:

20log100πln.				(16)

If a≥│b│>1 (this is valid for our case), then this integral is computed [1]:

0πln.			(17)

Taking into account (12) and (13), we obtain

π·lna+a2−b22=π·lnED2.					(18)

Using this equation and going back to common logarithms, equation (15) acquires a shape:

02π20logEdΔΦ=2π·20logED.			(19)

By dividing both sides by 2π we finally obtain:

12π02π20logEdΦ=20logED.				(20)

From this equation it follows that in case the field strength is measured by logarithmic units (the sweep spectrum analyzers present signal level measurement data on a logarithmic scale, usually in dBµV/m), then the field strength of direct wave is equal to the average value of the resultant field strength values within the interval in which phase difference ΔΦ changes by 2π. The simplest and easiest way to determine the phase change of 2π is between two minimums of resultant field strength. From here follows the new field strength ED calculation method (further it will be called the averaging of the log-scaled values method), when it’s value is calculated by averaging all resultant field strength E values between two minimums. It is clear that in order to make the averaging correctly, the field strength values must be arranged evenly by phase (at the same time arranged evenly by height, see eq. 3 and eq. 6). It can be considered that the field strength ED value, calculated by averaging many experimental values, will be more reliable than that determined from only two values calculated by the original max-min method.

# Measurement setup and procedure

## Measurement Equipment

Measurements were carried out in urban area far away from buildings, forests or separate trees (see Fig. 2). Such measurement location was chosen with the aim to verify the maximum achievable accuracy of the height scan method when it is limited only by parameters of the measurement equipment and ground reflections. In addition, such conditions allow more objective comparison of the original and new measurement methods.

Fig. 2. View of the measurements place.

Two mobile monitoring stations of the Communications Regulatory Authority were used for measurements. These stations were equipped with all the necessary monitoring equipment including antennas, GPS receiver, retractable mast, generator and etc. One station was used to transmit signal with known radiated power. The transmitting antenna R&S HL025 was placed on a retractable mast. The transmitter (microwave signal generator R&S SMR40) was emitting an unmodulated carrier (CW). The second measurement station was used for field strength height scan. Antenna R&S HL025 and spectrum analyzer R&S ESPI-7 were used for this measurement. In order to control the spectrum analyzer and download raw data, a portable computer was used.

It should be noted that RF-cables SUCOFLEX 104, before used for connection the antennas, have been replaced by new RF-cables MPC400 Flex. This replacement was done because the measurements using old RF-cables had low repeatability. It was suspected that deformation of old RF-cable when changing antenna height had made an influence on RF-cable attenuation. To verify this assumption an experiment was carried out. Two 10m length RF-cables SUCOFLEX 104 were connected using a coaxial coupler and this coupler was fixed to the telescopic mast of mobile monitoring station. One end of the cables was connected to microwave signal generator R&S SMR40 output, the other one – to spectrum analyzer R&S ESPI-7 input. The signal generator was set to a constant output level, and at the other end of the connected cables the level of signal was measured while the antenna mast was raised and lowered. This measurement was done for different frequencies. Figure 3 represents changes of signal level at 6 GHz, which varies within 4 dB. For lower frequencies the variations of output signal diminish and are within 1.5 dB for 1.2 GHz.

Fig. 3. Change the voltage drop on the RF-cable SUCOFLEX 104 for different mast heights at 6 GHz frequency.
 The black line represents rising the mast, the red line represents lowering it.

## Measurement Steps

Measurements were carried out at four frequencies and three horizontal distances between transmitting and measuring antennas. Essential measurement parameters are given in Table I. In order to assess noise immunity, at frequency of 6 GHz additional measurements with 40 dB lower (comparing to the table below) radiated power were carried out.

During the measurements it was necessary to take into account transmitting and measuring antenna’s E-plane pattern.

Table 1. Essential Measurement Parameters

| Parameter | Value |
| --- | --- |
| Transmitting frequency | 1.2; 2.6; 4.5, 6 GHz |
| Polarization | H, V |
| Transmitting power | -11 dBm (6 GHz), - 15 dBm (4.5 GHz), -19 dBm (2.6 GHz), -18 dBm (1.2 GHz) |
| Transmitting antenna height | 10.6 m |
| Minimum height of measuring antenna | 3.12 m |
| Maximum lifting height of measuring antenna | 10.01 m |
| Horizontal distance between antennas | 50, 75, 110 m |

For that reason, E-plane H-plane patterns were measured separately for each frequency because antenna R&S HL025 manufacturer presented only a typical radiation pattern. Patterns were measured at the same place and using the same equipment that was used for the height scan measurements. To minimize ground reflections, radiation patterns were measured at 10 m distance between the transmitting and receiving antennas and 10 m above the ground. The patterns were measured by changing only azimuth of receiving antenna, so the measurements of E-plane were carried out with both antennas in horizontal position and H-plane patterns were measured with both antennas in vertical position. The patterns were measured with a step of 1 degree, and finally the measurement data was processed using MS-Excel to determine approximating polynomials of the patterns.

Fig. 8. E-plane of antenna R&S HL025 at 1.2 GHz frequency (black color) and at 4.5 GHz (red color).
The solid lines represent the approximating curves, the dots – measured data.

Measurement results have shown that H-plane patterns are symmetrical and do not differ much from typical radiation patterns, presented by manufacturer. Quite different situation is for E-plane patterns (see Fig.8): the beam axis does not coincide with antenna axis and at higher frequencies the main lobe changes shape and becomes asymmetrical.

A height scan was performed by smoothly changing the measurement antenna height from minimum to the maximum (or vice versa), at the same time recording the spectrum analyzers’ input level changes. The settings for a spectrum analyzer are shown in Table II. Spectrum analyzer was set to a zero-span mode. To capture the height change interval exactly, the sweep time was chosen to be about 10 % longer than the antenna mast raising or retraction times.

Table II. Used Settings for a Spectrum Analyzer.

| Parameter | Value |
| --- | --- |
| Resolution bandwidth (RBW) | 30 kHz |
| Video bandwidth (VBW) | 300 kHz |
| Span | 0 Hz (Zero Span) |
| Sweep time | 150 s |
| Sweep mode | Single Sweep |
| Trace detector | RMS (root mean square) |
| Trace mode | Clear Write |
| Number of trace points | 8001 |

## Evaluation of Measurement Data

During each height scan, the measurement data (trace) was captured and saved in MS Excel worksheet format by analyzer controlling software. Each worksheet row contains field strength value, measurement index and measurement time. Example of indexed field strength data, when antenna was swept from minimum height up to the maximum, is presented in Fig. 5. Such graphs were automatically generated by the above-mentioned software.

Fig. 5. A set of field strength values obtained by raising the antenna (f=6 GHz, d=75 m, H-polarization).

Data processing starts from determination of the index, where antenna reaches its maximum height. As it follows from Fig. 5, this index corresponds to the position where field strength stops changing. It is clear that the minimum antenna height corresponds to index 0. Antenna raising was pretty smooth, so the height change is proportional to the change of the index. Therefore, if we know the above-mentioned indexes and their corresponding heights, it is possible to calculate relevant heights for each index (at the same time – for each field strength value). A completely analogous procedure was applied when antenna was scanned from up to down.

Next step was the calculation of elevation angles between transmitting and measuring antennas for each field strength value by using simple geometry formulas. Using antennas’ pattern approximating polynomials and these elevation angles, all field strength values were recalculated to conform to elevation angle value of 0. These field strength data series were used for calculation of field strength of direct wave.

Calculating the field strength ED by the original (max-min) method, at the beginning a special MS Excel-based application from the field strength data series extracted appropriate sequence of local maximums and minimums. Thereafter, using formula (9) the field strength ED for all neighboring pairs of local maximums and minimums was calculated. Thus, for each scan, a series of the field strength ED values and their mean value was obtained. A special MS Excel-based application identified rows, corresponding to the field strength minimums, further they were used for calculation of the field strength ED by the averaging of the log-scaled values method. The average value in this case was calculated very simply by taking the average of all field strength values from the first to the last local minimum.

Finally, the power was calculated from the well-known formula:

PdBW=EDdBμVm+20logLDm−134.77dB.			(21)

# Measurement setup and procedure

## Verification of reproducibility of height scan

To verify the reproducibility of measurement results, repeated measurements were carried out for vertical and horizontal polarizations at frequencies 4.5 GHz and 6 GHz for distances of 110 m and 50 m. The results showed that in all cases field strength dependency on height matched very well. Characteristic example of repeated measurements is presented in Fig. 6, which also shows that in all cases irregular and chaotic changes of the field strength maximum and minimum values were observed with the change of receiving antenna height. As it was already explained above, these changes occur because the reflection coefficient is non-uniform, i.e. its value varies with the position on the surface.

Fig. 6. Data of the first measurement (in red) and repeated in 20 min measurement (in black)
(f = 6 GHz, d = 110 m, V-polarization).

## Result of Determining the Field Strength of Direct Wave

First of all, it should be noted that noises (i.e. internal noise of spectrum analyzer, radio noise) are significantly lower than the measured signals, and both calculation methods give practically the same results (see Fig. 7) (to present more details, only narrow ranges of the height and the field strength are displayed).

Fig. 7. The resultant field strength (black points) and the field strength of direct wave calculated by the original
 max-min method (red points) and by the averaging of the log-scaled values method (blue points)
(f = 2.6 GHz, d = 75 m, H-polarization).

As it is seen from Fig. 7, the field strength ED value, calculated by the averaging of the new method, with the change of height varies more evenly than the value, calculated by the original max-min method. Usually, when the height varies within the whole interval from 3.12 m to 10.01 m, the field strength varies within 2 dB, less often – within 3 dB. It should be noted the repeatability of the field strength ED dependency on height is very good. It could not be otherwise because, as it was already mentioned above, the resultant field strength E dependency on height repeated very well.

## Result of Determining the Radiated Power

It should be noted that the compared radiated power measurement methods differ only in the field strength ED calculation methodology. Thus, to make this comparison objective, the same trace data was used for calculations.

It can be assumed that the field strength ED dependency on height is caused by random variations of the reflection coefficient with position on the ground. In this case the influence of these variations could be diminished by using the average field strength ED values for radiated power calculation in line with formula (21). This assumption was well proven by measurement results, presented below.

Table III. Summary of measurement results

| Frequency (GHz) | Polarization | Distance (m) | Measurement error (dB) |  |
| --- | --- | --- | --- | --- |
|  |  |  | Δ(original)a | Δ(new)b |
| 6 | Horizontal | 110 | 1.31 | 1.16 |
|  |  | 75 | 0.32 | 0.15 |
|  |  | 50 | -0.02 | -0.02 |
|  | Vertical | 110 | -0.29 | -0.29 |
|  |  | 75 | 0.45 | 0.44 |
|  |  | 50 | 0.21 | 0.21 |
| 4.5 | Horizontal | 110 | 1.11 | 1.06 |
|  |  | 75 | 0.37 | 0.42 |
|  |  | 50 | 0.28 | 0.2 |
|  | Vertical | 110 | 0.94 | 0.95 |
|  |  | 75 | 1.32 | 1.33 |
|  |  | 50 | 1.24 | 1.29 |
| 2.6 | Horizontal | 110 | 0.68 | 0.63 |
|  |  | 75 | 0.36 | 0.45 |
|  |  | 50 | -0.17 | -0.23 |
|  | Vertical | 110 | 0.33 | 0.32 |
|  |  | 75 | 0.19 | 0.24 |
|  |  | 50 | 0.46 | 0.46 |
| 1.2 | Horizontal | 110 | -0.66 | -0.63 |
|  |  | 75 | -0.30 | -0.35 |
|  |  | 50 | -0.72 | -0.71 |
|  | Vertical | 110 | 0.57 | 0.57 |
|  |  | 75 | 0.65 | 0.62 |
|  |  | 50 | 0.88 | 0.88 |

a radiated power was calculated according to the original method

b radiated power was calculated according to the new method

Table III presents the summary of the measurement results. Measurement error here is assumed as a difference between the measured radiated power values and the actual values.

As it is seen from Table III, the measurement error is unlikely small for such a type of measurements. Besides, the measurement errors for both methods were very close: the difference was no more than 0.15 dB for the rest 19 measurements.

## Result of Determining the Radiated Power at Low Signal Level

It can be seen from Fig. 8 that at low levels of measured signal the new measurement method was much more accurate. It is hard to believe but using this method the acceptable measurement error was obtained even at signal-to-noise ratio of about 3 dB. Such example of field strength dependency on a height is presented in Fig. 9. We can see that, for such a low signal-to-noise ratio, the field strength peaks are barely noticeable.

Fig. 8. The radiated power measurement error at various signal-to-noise ratios. Solid line marks the results of the original height scan method, dotted – of the new method 
(f=6 GHz, d=110 m, black color – H-polarization, red - V-polarization).

Fig. 9. The field strength at low signal level as function on height 
(f=6 GHz, d=110 m, V-polarization).

# Conclusion and future works

The results which are presented in this paper show that:

the original (described in ECC Recommendation 12(03)) and the new height scan methods for determining the radiated power at microwaves frequencies in rural areas worked very well, if the average value of a field strength of direct wave was used;

in case of low levels of the measured signal, the use of the new method yielded noticeably better results than in case of the original method.

In order to determine the accuracy of the height scan methods in urban area, additional research is needed.

# References

- И.С. Градштейн, И.М. Рыжик. Таблицы интегралов, сумм, рядов и произведений. Москва, издательство “Физматгиз“, 1963 г., с, 541.